## Slide 1: Temperature Effects on the Carbon Content of Marsh Core Subsamples through Time
Anna Atencio, Antonio Rodriguez, Brent McKee
University of North Carolina at Chapel Hill
Geology and Marine Sciences

## Slide 2: Introduction
Blue Carbon
  Salt marshes, mangroves, and seagrasses
  46.9% of total C burial in ocean sediments (Duarte et al 2005)
  Bury C at a rate 30 to 50 times that of terrestrial forests (McLeod et al 2011, Duarte et al 2013)
  Loss of these habitats at critical rates
No universal method of marsh core sample handling
  Minimize field to lab time and freeze the core (Blue Carbon Initiative 2014)
  Some use CHN, some use LOI converted to %OC with Craft’s 1991 conversion equation

## Slide 3: Questions
Does storage temperature effect the carbon content in a marsh core over time?
  Does depth of the sample in the core affect the above result?
  Labile versus Recalcitrant carbon
How does propagated error in loss on ignition (LOI) compare to CHN analysis?
  CHN analytical error is an order of magnitude lower than LOI analytical error
  How do the 2 compare in reproducibility?

## Slide 4: Hypothesis
Chart: Hypothesized Change in %OC over Time
| 1.0 | 2.0 | 4.0 | 8.0 | 16.0 | 32.0 | 64.0 | 128.0 | 256.0 | 512.0
Frozen | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Refrigerator | 100 | 79.4328 | 63.8263 | 51.8501 | 42.5611 | 38 | 38 | 38 | 38 | 38
Ambient | 100 | 63.0957 | 41.6869 | 38 | 38 | 38 | 38 | 38 | 38 | 38

## Slide 5: Methods

## Slide 6: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
Core
5-15
cm
65-75
cm

## Slide 7: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
Ambient 24˚C
Core
Temperature
Refrigerator 1.5˚C
Freezer -20˚C

## Slide 8: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
LA
LF
LR
Core
Temperature
Ambient 24˚C
Refrigerator 1.5˚C
Freezer -20˚C

## Slide 9: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
LA
LF
LR
Ambient 24˚C
Refrigerator 1.5˚C
Freezer -20˚C
Core
Temperature
Subsampling
Subsampling:
3 subsamples per bag per sample day.
Oven dried on low heat for 24 hours
Sampling Days:
0
1
2
4
8
16
32
64
128

## Slide 10: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
LA
LF
LR
Ambient 24˚C
Refrigerator 1.5˚C
Freezer -20˚C
Core
Temperature
Subsampling

## Slide 11: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
LA
LF
LR
Ambient 24˚C
Refrigerator 1.5˚C
Freezer -20˚C
Core
Temperature
Subsampling
Subsampling:
3 subsamples per bag per sample day.
Oven dried on low heat for 24 hours
Sampling Days:
0 – 3 subsamples for each section
1
2
4
8
16
32
64
128
2 sections 3 treatments  8 sampling days
3 subsamples + 6 initial subsamples
150 Subsamples

## Slide 12: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
LA
LF
LR
Ambient 24˚C
Refrigerator 1.5˚C
Freezer -20˚C
Core
Temperature
Subsampling
CHN
LOI
Analysis
Costech Analytical Instruments
Elemental Combustion System 4010
550˚C for 4 hours
150 Subsamples for
each analysis
Notes: Costech Analytical Instruments Elemental Combustion System 4010

## Slide 13: Methods
Upper
Lower
Sieved & Homog
Sieved & Homog
UA
UR
UF
LA
LF
LR
Ambient 24˚C
Refrigerator 1.5˚C
Freezer -20˚C
Core
Temperature
Subsampling
CHN
LOI
Analysis
AVG
STDEV
STDEV

## Slide 14: Results: Carbon Content
Upper
Lower
Core

## Slide 15: Results: Upper Core

## Slide 16: Results: Upper Core
Carbon Hotspots
and Coldspots
24.8 %
25.2 %
35.1 %
Notes: Ambient: of the triplicates, 2 were very similar, and a third was far off. It’s impossible to make the whole thing homogenized, which is why larger sample size is important. Small hot spots or cold spots of C may still remain. These are diluted with larger sample size.

## Slide 17: Results: Lower Core

## Slide 18: Discussion
Marsh cores may be stored from -20˚C to 24˚C for up to 128 days and the carbon concentration will be representative of the marsh carbon
  Within error, one cannot distinguish a difference in C in this temperature zone or time limit.

## Slide 19: Results
Notes: Craft used 250 samples from 10 salt and brackish marshes around NC looking at both young and old marsh soils ranging from 0% OM to 80%.
Clearly CHN error is greater than LOI error.

## Slide 20: Results
LOI Standard Deviation
does not surpass 2% of
organic carbon.
CHN Standard Deviation
almost reaches 9%.
Notes: Average LOI Sed mass used = 250 mg
Average CHN Sed mass used = 7 mg

## Slide 21: Discussion
LOI should be used to measure marsh carbon because it has lower error in subsampling compared to CHN
  LOI has larger sample size than CHN
  CHN may over or undervalue the marsh’s ability to sequester carbon
Notes: In Marshes and depositional environments with large sample size CHN subsampling error is too large. CHN analytical error is small, but the sample size is also small, and you can’t achieve full homogeneity in a sample, so the small subsampling size allows for possible carbon hotspots and coldspots. LOI is better suited for the larger volumes. CHN uses 6-7mg while LOI needs at 250 grams.

## Slide 22: Implications
Interest in quantifying OC burial in marshes
  No universal method of sampling for marsh C
  We found that temperature treatment can vary
  The carbon can be sampled within about 4 months of taking the core
  LOI should be used rather than CHN because it is more representative of the marsh

## Slide 23: Final Thoughts
  How did we get the data for all the global carbon budget? If its calculated using CHN, the numbers may be different than what has been presented.
  Blue Carbon
  46.9% of total C burial in ocean sediments (Duarte et al 2005)

## Slide 24: Final Thoughts
  How did we get the data for all the global carbon budget? If its calculated using CHN, the numbers may be different than what has been presented.
  Blue Carbon
  46.9% of total C burial in ocean sediments (Duarte et al 2005)
    Duarte et al 2005 says that blue carbon areas are responsible for 46.9% of carbon burial in ocean sediments. The marsh carbon part of this was calculated from Chmura et al 2003, who used LOI converted to % OC.
These numbers are reliable and reproducible

## Slide 25: Acknowledgments
Chancellor’s Science Scholars Program
Defense Coastal/Estuarine Research Program (DCERP2) funded by the Department of Defense
The Rodriguez and McKee Labs and all the people who worked with me through this project
UNC Marine Sciences and UNC Geology Departments
Geological Society of America

## Slide 26: Works Cited
Craft, C. B., Seneca, E. D., & Broome, S. W. (1991). Loss on ignition and Kjeldahl digestion for estimating organic carbon and total nitrogen in estuarine marsh soils: calibration with dry combustion. Estuaries and Coasts, 14(2), 175-179.
Duarte, C. M., Middelburg, J. and Caraco, N. (2005) “Major role of marine vegetation on the ocean carbon cycle.” Biogeosciences. Vol 2. Pages 1 - 8.
Duarte, C. M., Losada, I. J., Hendriks, I. E., Mazarrasa, I., & Marbà, N. (2013). The role of coastal plant communities for climate change mitigation and adaptation. Nature Climate Change, 3(11), 961-968.
Howard, J., Hoyt, S., Isensee, K., Telszewski, M., & Pidgeon, E. (2014). Coastal blue carbon: methods for assessing carbon stocks and emissions factors in mangroves, tidal salt marshes, and seagrasses.
Mcleod, E., Chmura, G. L., Bouillon, S., Salm, R., Björk, M., Duarte, C. M., ... & Silliman, B. R. (2011). A blueprint for blue carbon: toward an improved understanding of the role of vegetated coastal habitats in sequestering CO2. Frontiers in Ecology and the Environment, 9(10), 552-560.

## Slide 27: Craft’s Marsh Carbon Equation

## Slide 28: Upper %OC with LOI

## Slide 29: Lower %OC with LOI